## Slide 1: New England’s Changing Resource Mix and Planning for the Future Grid
A U G U S T 2 1 , 2 0 2 3 | G R O T O N , C T
Gordon van Welie
P R E S I D E N T & C E O
Northeast Public Power Association 2023 Annual Conference

## Slide 2: ISO New England’s Mission and Vision
Mission: What we do
Through collaboration and innovation,
ISO New England plans the transmission system, administers the region’s wholesale markets, and operates the power system to ensure reliable and
competitively priced wholesale electricity
Vision: Where we’re going
To harness the power of competition and advanced technologies to reliably plan and operate the grid as the region transitions to clean energy
The ISO’s Vision for the future represents our long-term
intent and guides the formulation of our Strategic Goals

## Slide 3: ISO New England’s Strategic Plan
In October 2022, the ISO released Vision in Action: ISO New England’s Strategic Plan
The plan provides insight into how the ISO intends to fulfill its three critical roles during the clean energy transition
In addition to discussing the ISO’s key goals and initiatives, the plan offers perspectives on trends shaping the power industry, including:
  Changing How the Region Generates and Uses
Electricity
  Changing Weather and Winter Challenges
  Changing Economy At Home and Around the World

## Slide 4: ISO-NE Is a Summer-Peaking System
New England shifted from a winter-peaking system to a summer-peaking system in the early 1990s, largely because of the growth of air conditioning and a decline in electric heating
Peak demand on a normal summer day has typically
ranged from 17,500 MW to 22,000 MW
Summer demand usually peaks on the hottest and
most humid days and averaged roughly 25,600 MW since 2000
Region’s all-time summer peak demand was 28,130 MW
on August 2, 2006
The region is expected to shift back to a winter-peaking system with
the electrification of heating demand
Region’s all-time winter peak demand was 22,818 MW
on January 15, 2004

## Slide 5: From 2013 to 2022, More Than 5,200 MW of Generation Have Retired
Include predominantly coal,
oil, and nuclear resources
Another 5,000 MW of remaining coal and oil are at risk of retirement
These resources have played an important role in recent winters when natural gas supplies are constrained in New England
Source: ISO New England Status of Non-Price Retirement Requests and Retirement De-list Bids (April 2023)

## Slide 6: State Laws Target Deep Reductions in CO2 Emissions and Increases in Renewable and Clean Energy
≥80% by 2050 | Five states mandate greenhouse gas reductions economy wide: MA, CT, ME, RI, and VT (mostly below 1990 levels)
Net-Zero by 2050 80% by 2050 | MA emissions requirement MA clean energy standard
90% by 2050 | VT renewable energy requirement
100% by 2050 Carbon-Neutral by 2045 | ME renewable energy goal ME emissions requirement
100% by 2040 | CT zero-carbon electricity requirement
100% by 2033 | RI renewable energy requirement

## Slide 7: Renewable Energy Is on the Rise
VT
100
90
80
70
60
50
40
30
20
10
0
2020 2025 2030 2035 2040
Percentage (%) Requirement
State Renewable Portfolio Standard (RPS)*
for Class I or New Renewable Energy
State policy requirements are a major driver
RI
NH
ME MA CT
Notes: State RPS requirements promote the development of renewable energy resources by requiring electricity providers (electric distribution companies and competi tive suppliers) to serve a minimum percentage of their retail load using renewable energy. Connecticut’s Class I RPS requirement plateaus at 40% in 2030. Maine’s Class I/IA RPS requirement increases to 50% in 2030 and remains at that level each year thereafter. Massachusetts’ Class I RPS requirement increases by 2% each year between 2020 and 2024, 3% each year between 2025 and 2029, reverting back to 1% each year thereafter, with no stated expiration date. New Hampshire’s percentages include the requirements for both Class I and Class II resources (Class II resources are new solar technologies beginning operation after January 1, 2006). New Hampshire’s Class I and Class II RPS requirements plateau at 15.7% in 2025. Rhode Island’s requirement for ‘new’ renewable energy reaches 100% in 2033. Vermont’s ‘total renewable energy’
requirement plateaus at 75% in 2032; it recognizes all forms of new and existing renewable energy and is unique in classifying large-scale hydropower as renewable.
July 2022

## Slide 8: Dramatic Changes in the Energy Mix
25%
23%
18%
14%
12%
5%
16%
14% 14%
11% 11%
1.5%
0.3%
45%
6%
13%
0%
0%
12%
3%
56%
Nuclear
Oil
Coal
Natural Gas
Hydro
Imports
Renewables
2000
2022
2040 (S3)
Source: ISO New England Net Energy and Peak Load by Source; data for 2022 is preliminary and subject to resettlement; data for 2040 is based on Scenario 3 of
the ISO New England 2021 Economic Study: Future Grid Reliability Study Phase 1.
Renewables include landfill gas, biomass, other biomass gas, wind, grid-scale solar, behind-the-meter solar, municipal solid waste, and miscellaneous fuels.
Percent of Total Electric Energy Production by Source
(Past, Present, Future)
New England made a major shift from coal and oil to natural gas over the past two decades, and is shifting to renewable energy in the coming decades

## Slide 9: The ISO Generator Interconnection Queue Provides a Snapshot of Resource Proposals
Wind
48%
Battery Storage 38%
Solar
11%
Natural Gas
3%
Hydro
<1%
Natural Gas
48%
Wind
44%
Solar
6%
Other
2%
Dramatic shift in proposed resources from natural gas to battery storage and renewables
Source: ISO Generator Interconnection Queue, FERC
Jurisdictional Proposals; Nameplate Capacity Ratings.
CT | 2,400 MW
MA | 11,514 MW
RI | 704 MW
ME | 2,325 MW
13,250 MW
35,214 MW
June 2017
June 2023
Offshore Wind
Onshore Wind
Then Now

## Slide 10: ISO New England Forecasts Strong Growth in Solar Photovoltaic (PV) Resources
5,473
40
Jan. 2010 Dec. 2022 2032
Cumulative Growth in Solar PV
through 2032 (MWac)
11,913
0
4,000
2,000
6,000
10,000
8,000
12,000
Megawatts (MW)
State | Installed Capacity (MWac) | No. of Installations
Connecticut | 912 | 73,553
Massachusetts | 3,289 | 150,020
Maine | 295 | 8,583
New Hampshire | 183 | 14,427
Rhode Island | 326 | 17,034
Vermont | 468 | 19,348
New England | 5,473 | 282,965
December 2022 Solar PV
Installed Capacity (MWac)
Note: The bar chart reflects the ISO’s projections for nameplate capacity from PV resources participating in the region’s wholesale electricity markets, as well as those connected “behind the meter.” The forecast does not include forward-looking PV projects > 5 MW in nameplate capacity. Source: ISO New England 2023-2032 Forecast Report of Capacity, Energy, Loads, and Transmission (2023 CELT Report) (May 2023), and 2023 Photovoltaic (PV) Forecast; MW values are AC nameplate.

## Slide 11: Electricity Demand from Electric Vehicles and Heating Sectors to Grow Over the Next Decade
Percentage of Net System Peak in 2032: Transportation – summer: 9%; Transportation – winter: 13%; Heating – winter: 11%
Sources: ISO New England 2023-2032 Forecast Report of Capacity, Energy, Loads, and Transmission (2023 CELT Report) (May 2023), 2023 Forecast Data.
4,000
3,500
3,000
2,500
2,000
1,500
1,000
500
0
2023
2024 2025
Transportation Summer Peak
2026
2027 2028
Transportation Winter Peak
2029
2030 2031
Heating Winter Peak
2032
Megawatts (MW)
Transportation and Heating Forecasts:
Impact on Peak Electricity Demand, 2023‒2032

## Slide 12: New England System Peak Grows Substantially
0
30,000
20,000
10,000
40,000
50,000
60,000
2035 2040 2050
Other Load
Heating Electrification
All-time System Peak Demand (8/2/2006)
2035 2040 2050
Transportation Electrification Air Conditioning
All-time Winter Peak Demand (1/15/2004)
Winter Peak
Summer Peak
57 GW
35 GW
43 GW
29 GW
32 GW
40 GW
and Shifts to Winter-Peaking
2050 Transmission Study
Megawatts
Region needs to address energy adequacy risk to support higher load levels

## Slide 13: Major Transmission Investment Will Be Required to
Lines represent types of ETUs private developers have proposed in recent years
– New England Clean Energy Connect (NECEC) is a 145-mile HVDC transmission line proposed by Central Maine Power to bring 1,200 MW of large- scale hydropower from Hydro-Québec in eastern Canada to Maine and the ISO-NE system
Wind projects make up nearly 50% of new resource proposals in the ISO Queue
– Most are offshore wind proposals in southern New England, but some are onshore wind proposals in northern New England and would require transmission to deliver the energy to load centers
Support the Region’s Clean Energy Transition
Developers are proposing nine
elective transmission upgrades (ETUs) to help deliver over 15,000 MW of clean energy to New England load centers
Source: ISO Interconnection Queue (June 2023)

## Slide 14: Energy Storage Is a Key Part of the New England Power Grid’s Past, Present, and Future
Two pumped-storage hydro facilities have operated in
New England since the 1970s
  These resources can supply up to 1,800 MW
of power within 10 minutes for up to 7 hours
In 2016, together with our stakeholders, the ISO began efforts to enable other energy-storage technologies to participate in the wholesale markets
  The ISO filed the Energy Storage Device Project
in Oct. 2018 and FERC approved it, effective April 2019
  The project largely addressed the major requirements of FERC Order 841, issued in Feb. 2018
Currently, about 50 MW of batteries are dispatchable by the ISO, with
many more proposed
Source: Seasonal Claimed Capability Monthly Report February 2023

## Slide 15: There Are Four Pillars Necessary to Support a Successful Clean Energy Transition
Significant amounts of clean energy to power the economy with a greener grid
Balancing resources that keep electricity supply and demand in equilibrium
Energy adequacy—a dependable energy supply chain and/or a robust energy reserve to manage through extended periods of severe weather or energy supply constraints
Robust transmission to integrate renewable resources and move clean electricity to consumers
across New England
1
2
3
4

## Slide 16: Overview of Studies Supporting the Future Grid
Weather: Operational Impacts of Extreme Weather Events
  Rigorously model likelihood and impact of extreme weather events
Transmission: 2050 Transmission Study
  Determine transmission needs to support renewable/high load future
Operations: Future Grid Reliability Study
  Phase 1- Examine operational effects of renewable-heavy grid
Markets: Pathways to the Future Grid
  Evaluate different market options to support a
renewable-heavy grid
Reliability: Transmission Planning for the
Clean Energy Transition
  Explore how near-term needs assessments should evolve with renewables

## Slide 17: Responsive Market Designs
FERC Order No. 2222
  Further integrate Distributed Energy Resources (DERs) and DER
Aggregations into the regional markets
Alternative FCM Commitment Horizons (Prompt/ Seasonal)
  Evaluate possible market design changes to the Forward Capacity Market (FCM) commitment horizon that would replace the Forward Capacity Auction (FCA) with a “prompt” capacity auction, and would structure capacity as a seasonal product
Resource Capacity Accreditation (RCA) in the FCM
  Implement new methodologies to accredit resources’ capacity contributions to regional resource adequacy
Day-Ahead Ancillary Services Initiative (DASI)
  Develop market constructs for procuring and transparently pricing ancillary service capabilities needed for a reliable, next-day operating plan with an evolving resource mix

## Slide 18: Operational Impact of Extreme Weather Events – Energy Adequacy Study
The energy adequacy risk profile is dynamic and will be a function of the evolution of both supply and demand profiles
ISO-NE
Step 3: Energy
Assessments
ISO is working with the Electric Power Research Institute to conduct a probabilistic
energy adequacy study for New England under extreme weather events
Study results are intended to inform the region on energy adequacy risks
– These results may help in ‘quantifying’ a problem statement on energy adequacy, against
which possible solutions can be assessed
Study establishes a framework for risk analysis that can be updated as climate projections are refined and the resource mix evolves
Framework contains three major steps:
EPRI
Step 2: Risk Screening Model Development and Scenario Generation
EPRI
Step 1: Weather Modeling

## Slide 19: ISO’s Energy Security Assessment Practices
21-Day Energy Assessment
Since 2018, ISO has published a
21-Day Energy Assessment Forecast to provide early warning of potential energy shortfalls
The rolling three-week forecast:
  Considers anticipated power system conditions, forecasted weather and consumer demand, and expected fuel inventories, and
  Compares hourly energy forecasts
against thresholds established in OP-21
Results of the assessment give ISO New England, public officials, and stakeholders time to take action to prevent shortfalls from materializing
FORECASTED SYSTEM CONDITIONS:
NORMAL

## Slide 20: Energy Adequacy Study Key Takeaways
Preliminary results of energy assessments for 2027 winter events, 2027 summer events, and 2032 winter events have been presented to the Reliability Committee
Results reveal a range of energy shortfall risks and associated probabilities
Results of preliminary studies reveal similar energy adequacy risk with and without the Everett Marine Terminal in-service
  Assumes that the market will respond with new resources to meet increased electrification load and replace retiring resources, a reliable gas system and responsive oil supply chain, that transmission will be built to interconnect wind and import Canadian hydropower, and no electricity production limitations due to emissions restrictions
  If key assumptions don’t hold, the region may see an increasingly risky profile that the ISO will capture with this assessment tool as we move forward

## Slide 21: Energy Adequacy Study Key Takeaways, cont.
In terms of magnitude and probability, baseline studies (using the 2022 CELT forecast) of 2032 winter events indicate an energy shortfall risk similar to that of the 2027 winter event studies
Sensitivity analysis of 2032 worst-case scenarios indicate an increasing
energy shortfall risk profile between 2027 and 2032
Timely additions of BTM and Utility Scale PV, offshore wind, and incremental imports from NECEC are critical to mitigate energy shortfall risks that result from significant peak winter load growth and retirements
This energy adequacy study tool developed in partnership with EPRI provides a much needed foundation for the ISO to monitor risks and study the system as it continues to evolve

## Slide 22: FOR MORE INFORMATION…
Subscribe to the ISO Newswire
ISO Newswire is your source for regular news about ISO New England and the wholesale electricity industry within the six-state region
Log on to ISO Express
ISO Express provides real-time data on New England’s wholesale electricity markets and power system operations
Follow the ISO on Twitter
@isonewengland
Follow the ISO on LinkedIn
@iso-new-england
Download the ISO to Go App
ISO to Go is a free mobile application that puts real-time wholesale electricity pricing and power grid information in the palm of your hand

## Slide 23: ISO New England Releases Several Publications
New England Power Grid Profile
Provides key grid and market stats on how New England’s
wholesale electricity markets are securing reliable electricity at competitive prices and helping usher in a cleaner, greener grid
2022 Regional Electricity Outlook
Provides an in-depth look at New England’s biggest challenges to
power system reliability, the solutions the region is pursuing, and other ISO New England efforts to improve services and performance
New England State Profiles
Provides state-specific facts and figures relating to supply and demand resources tied into the
New England electric grid and
state policies transforming the
resource mix in the region

## Slide 24: Consumer Liaison Group Provides a Forum for Consumers to Learn about Regional Electricity Issues
A forum for sharing information between the ISO and electricity consumers in New England
The CLG Coordinating Committee consists of 12 members who represent various stakeholder groups
Quarterly meetings are free and open to the public, with in-person and virtual options to participate
Remaining 2023 Meetings
Thursday, September 21
Wednesday, December 6
More information on the CLG is available at: https://www.iso-ne.com/committees/industry-collaborations/consumer-liaison/
2022 CLG Annual Report